## Instructions
Instructions
1 | Some columns and rows are hidden – do not edit these cells.
2 | Please also do not edit the last sheet, 'Constants', which is used to populate some of the drop down menus.
3 | Some sheets are linked to their corresponding setup items in the manual. Blue text against grey shading are HTML links.
4 | Grey shaded cells contain validation rules, mostly look-up references and formatting. If you add rows below the shaded areas, copy the shaded cells into the new rows for the best results, ensuring that the validation is applied on the new rows too.
Optional
5 | Files to be uploaded, e.g. scans of signatures (jpg) or method documents (pdf), must be available in the same folder as this spreadsheet and only the file name entered into the corresponding cell

## Setup
Field | Description | Value
Setup – Global defaults
Field | Description | Value
PasswordLifetime | Password lifetime (days) | 0
AutoLogOff | Auto log off period (minutes) | 0
Currency | Currency | EUR
MemberDiscount | Member discount % | 15
VAT | Vat % | 21
MinimumResults | Minimum results for stats | 5
BatchEmail | Max email batch size | 5
BatchFax | Max fax batch size | 4
SMSGatewayAddress | Sms gateway address
SamplingWorkflowEnabled | Sampling workflow enabled? | 0
CategoriseAnalysisServices | Analysis services categorised in setup? | 1
DryMatterService | Analysis service for dry matter calculations | Materia seca
ARImportOption | Bulk ar import option | Classic
ARAttachmentOption | Ar results file attachment option | Permitted
AnalysisAttachmentOption | Analysis results attachment option | Permitted
DefaultSampleLifetime_days | Default sample retention period – days | 30
DefaultSampleLifetime_hours | Default sample retention period – hours | 0
DefaultSampleLifetime_minutes | Default sample retention period – minutes | 0
AutoPrintLabels | Auto label printing workflow step | register
AutoLabelSize | Auto label printing size | small
YearInPrefix | Must the year be included in sample prefixes? | 1
SampleIDPadding | Sample id padding | 4
ARIDPadding | Ar id padding | 2
ExternalIDServer | External id server? | 0
IDServerURL | Id server url

## ID Prefixes
portal_type | Object | padding | prefix
Object ID prefixes
portal_type | Data object | Padding | Prefix
AnalysisRequest | Analysis Request | 2 | AR-
Batch | Case | 5 | B-
Sample | Sample | 4 | S-
Worksheet | Worksheet | 4 | WS-
Invoice | Invoice | 4 | I-
ARImport | AR Import | 4 | AI-
ReferenceSample | Reference Sample | 4 | QC-
ReferenceAnalysis | Reference Analysis | 4 | SA-
DuplicateAnalysis | Duplicate Analysis | 4 | D-

## Lab Information
Field | Description | Value
Laboratory and Accreditation Information
| Description | Value
Name | Name | Bika Test Lab
LabURL | Lab web address | http://bika3.bikalabs.com/
Confidence | Confidence level % | 95
LaboratoryAccredited | Laboratory accredited ? | 1
AccreditationBodyLong | Accreditation body title | Example Accreditation Inc
AccreditationBody | Accreditation body abbreviation | SAI
AccreditationBodyURL | Accreditation body web address | sai.example.org
Accreditation | Accreditation standard, e.g ISO 17025 | ISO 17025
AccreditationReference | Lab's accreditation reference number
AccreditationBodyLogo | Accreditation body logo
TaxNumber | Tax number
Phone | Phone number
Fax | Fax number
EmailAddress | Email address | lab@sai.example.org
Physical_Address | Physical address | Number 4, First Street
Physical_City | Physical address city | Little Town
Physical_State | Physical address state | Western Province
Physical_Zip | Physical address zip | 7195
Physical_Country | Physical address country | South Africa
Postal_Address | Postal address | Number 4, First Street
Postal_City | Postal address city | Little Town
Postal_State | Postal address state | Western Province
Postal_Zip | Postal address zip | 7195
Postal_Country | Postal address country | South Africa
Billing_Address | Billing address | Number 4, First Street
Billing_City | Billing address city | Little Town
Billing_State | Billing address state | Western Province
Billing_Zip | Billing address zip | 7195
Billing_Country | Billing address country | South Africa

## Lab Contacts
Salutation | Firstname | Surname | EmailAddress | BusinessPhone | BusinessFax | HomePhone | MobilePhone | JobTitle | Department_title | Username | Password | Groups | Roles | Signature | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Lab contacts - staff members |  |  |  | Only if a Lab contact is a LIMS user too, does he/she get given a (unique) user name and password, and assigned a role or to a group | [10 empty] | Physical address |  |  |  |  | Postal address
Salutation | First name | Surname | Email address | Business phone | Business fax | Home phone | Mobile phone | Job title | Department | User name | Password | Groups | Roles | Signature | Address | City | State | Zip | Country | Address | City | State | Zip | Country
Mr | Lab | Manager 1 | labmanager1@example.com | 021 555 1234 | 021 555 1233 | 048 813 9515 | 082 555 9910 | Manager | Química | labman1 | labman1 | LabManagers | LabManagers
Ms | Lab | Manager 2 | labmanager2@example.com | 021 555 1236 | 021 555 1233 | 050 866 9887 | 083 555 8108 | Assistant manager | Química | labman2 | labman2 | LabManagers | LabManagers
Ms | Lab | Manager 3 | labmanager3@example.com | 048 813 9254 | 048 813 9323 | 048 813 3719 | 088 846 9783 | Manager | Microbiología | labman3 | labman3 | LabManagers | LabManagers
Mr | Lab | Manager 4 | labmanager4@example.com | 050 866 9582 | 050 866 9747 | 050 866 1220 | 090 869 9791 | Assistant manager | Microbiología | labman4 | labman4 | LabManagers | LabManagers
Mr | Lab | Manager 5 | labmanager5@example.com | 065 463 9615 | 065 463 2791 | 065 463 1715 | 078 813 2950 | Manager | Muestreo | labman5 | labman5 | LabManagers | LabManagers
Mr | Lab | Clerk 1 | labclerk1@example.com | 010 417 2743 | 010 417 3007 | 010417 5849 | 073 965 3368 | Sampler | Muestreo | labclerk1 | labclerk1 | LabClerks | LabClerks
Mr | Lab | Clerk 2 | labclerk2@example.com | 049 587 7652 | 049 587 3252 | 049 587 9155 | 081 944 4675 | Sampler | Muestreo | labclerk2 | labclerk2 | LabClerks | LabClerks
Mr | Lab | Clerk 3 | labclerk3@example.com | 021 555 1234 | 021 555 1233 | 048 813 9515 | 082 555 9910 | Manager | Química | labclerk3 | labclerk3 | LabClerks | LabClerks
Ms | Lab | Analyst 1 | analyst1@example.com | 021 555 1236 | 021 555 1233 | 050 866 9887 | 083 555 8108 | Assistant manager | Química | analyst1 | analyst1 | Analysts | Analysts
Ms | Lab | Analyst 2 | analyst1@example.com | 048 813 9254 | 048 813 9323 | 048 813 3719 | 088 846 9783 | Manager | Microbiología | analyst2 | analyst2 | Analysts | Analysts
Mr | Lab | Analyst 3 | analyst1@example.com | 050 866 9582 | 050 866 9747 | 050 866 1220 | 090 869 9791 | Assistant manager | Microbiología | analyst3 | analyst3 | Analysts | Analysts
Mr | Lab | Verifier 1 | verifier1@example.com | 065 463 9615 | 065 463 2791 | 065 463 1715 | 078 813 2950 | Manager | Muestreo | verifier1 | verifier1 | Verifiers | Verifiers
Mr | Lab | Publisher | publisher1@example.com | 010 417 2743 | 010 417 3007 | 010417 5849 | 073 965 3368 | Sampler | Muestreo | publisher1 | publisher1 | Publishers | Publishers

## Lab Departments
title | description | LabContact_Username
Lab Departments
Title | Description | Manager
Química | Departamento de química analítica | labman1
Muestreo | Muestreo y instrumentación en línea | labman1
Admin | Administración del laboratorio | labman1
Microbiología | Análisis microbiológicos | labman1

## Clients
Name | ClientID | MemberDiscountApplies | BulkDiscount | TaxNumber | Phone | Fax | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country | Billing_Address | Billing_City | Billing_State | Billing_Zip | Billing_Country | AccountNumber
Clients | [7 empty] | Physical Address |  |  |  |  | Postal Address |  |  |  |  | Billing Address
Name | Client ID | Member discount applies? | Bulk discount applies? | Tax number | Phone | Fax | Email address | Address | City | State | Zip | Country | Address | City | State | Zip | Country | Address | City | State | Zip | Country | Account number
Plantíos felices | HH | 1 | 0 | SA62914-27121 | 021 555 4220 | 021 555 4220 | happyhills@example.com
Klaymore | KL | 1 | 1 | SA62914-27120 | 021 555 3026 | 021 555 3157 | klaymore@example.com
Mortons | MT | 0 | 0 | SA62914-27119 | 021 555 5264 | 021 555 4557 | morton@example.com
Myrtle | MY | 1 | 1 | SA62914-27118 | 021 555 1901 | 021 555 3417 | mwf@example.com
Norton | NT | 0 | 1 | SA62914-27117 | 021 555 2050 | 021 555 2192 | norton@example.com
Productos de avestruz | OP | 0 | 1 | SA62914-27116 | 021 555 1150 | 021 555 1504 | ostriches@example.com
Petersville Co-op | PCO | 0 | 0 | SA62914-27115 | 021 555 1730 | 021 555 1731 | petersville@example.com
Ruff | RUF | 1 | 1 | SA62914-27114 | 021 555 1705 | 021 555 1705 | ruff@example.com
Sunnyside | SS | 1 | 1 | SA62914-27113 | 021 555 1663 | 021 555 3295 | sunnyside@example.com

## Client Contacts
Client_title | Salutation | Firstname | Surname | Username | Password | JobTitle | Department | BusinessPhone | BusinessFax | HomePhone | MobilePhone | EmailAddress | PublicationPreference | CCContacts | AttachmentsPermitted | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Client Contacts - Staff Members | [15 empty] | Physical Address |  |  |  |  | Postal Address
Client title | Salutation | First name | Surname | User name | Password | Job title | Department | Business phone | Business fax | Home phone | Mobile phone | Email address | Publication preference | Contacts to be cc'd | Attachments permitted | Address | City | State | Zip | Country | Address | City | State | Zip | Country
Plantíos felices | Ms | Rita | Moreno Morales | ritamo | ritamo | Subdirector de producto | Química | 038 664 6469 | 038 664 7338 | 038 664 7757 | 082 607 8405 | mohale@example.com | email | Sarel Segovia García | Permitted
Plantíos felices | Mr | Sarel | Segovia García | sarelse | sarelse | Director | Nutrición | 040 666 6630 | 040 666 7834 | 040 666 7858 | 083 644 8576 | seemonster@example.com | email | Rita Moreno Morales | Permitted
Klaymore | Mr | Nicolás | Torrijo Hernández | neilst | neilst | Subdirector de investigación | Desarrollo de producto | 035 597 5814 | 035 597 6876 | 035 597 6344 | 080 564 7509 | standard@example.com | email | Juana Cabrales Calvo | Permitted
Klaymore | Ms | Juana | Cabrales Calvo | johannasm | johannasm | Científico | Ciencias del suelo | 036 640 6016 | 036 6406911 | 036 6407167 | 081 569 7909 | smith@example.com | email | Nicolás Torrijo Hernández | Permitted
Mortons | Mr | Alfonso | López Núñez | alfiefa | alfiefa | Subdirector de producto | Desarrollo de producto | 029 569 4286 | 029 569 5689 | 029 569 3575 | 076 405 6031 | faraday@example.com | email | Bibiana Molina Díaz | Permitted
Mortons | Ms | Bibiana | Molina Díaz | bibimo | bibimo | Subdirector de investigación | Microbiología | 031 572 4880 | 031 572 6139 | 031 572 5496 | 077 432 6402 | moeketsi@example.com | email | Alfonso López Núñez | Permitted
Myrtle | Mr | Frederico | Trepat Rodríguez | fredtu | fredtu | Responsable de calidad | Producción | 041 670 6654 | 041 6708002 | 041 670 8848 | 084 677 8884 | turner@example.com | email | Ana Lizarra Güell | Permitted
Myrtle | Ms | Ana | Lizarra Güell | anneli | anneli | Químico | Desarrollo de producto | 043 686 7287 | 043 686 8770 | 043 686 9006 | 085 744 8920 | livingstone@example.com | email | Frederico Trepat Rodríguez | Permitted
Norton | Mr | Carlos | Benítez García | carlbe | carlbe | Responsable de calidad | Química | 020 307 2324 | 020 307 2050 | 020 307 2013 | 070 144 2178 | bennett@example.com | email | Chiel Froilán Sabater | Permitted
Norton | Mr | Chiel | Froilán Sabater | chielfr | chielfr | Subdirector de producto | Calidad | 021 321 3054 | 021 321 2470 | 021 321 2060 | 071 186 3359 | fransman@example.com | email | Carlos Benítez García | Permitted
Productos de avestruz | Ms | Caterina | Leticia Navarro | karenle | karenle | Subdirector de investigación | Química | 022 473 3711 | 022 473 3907 | 022 473 2587 | 072 231 4216 | leonard@example.com | email | Petri Dalmases Belmonte | Permitted
Productos de avestruz | Ms | Petri | Dalmases Belmonte | petriedl | petriedl | Responsable de calidad | Producción | 023 510 3979 | 023 5104307 | 023 5102886 | 073 300 4697 | dlamini@example.com | email | Caterina Leticia Navarro | Permitted
Petersville Co-op | Ms | Gerónimo | Fuster Valls | gillianfo | gillianfo | Subdirector de producto | Investigación y desarrollo | 045 729 8972 | 045 729 8771 | 045 729 9142 | 086 768 9018 | foster@example.com | email | Juan Tesón Cavanillas | Permitted
Petersville Co-op | Dr | Juan | Tesón Cavanillas | judgets | judgets | Consultor | Química | 047 787 9166 | 047 787 9227 | 047 787 9249 | 087 786 9610 | tshabala@example.com | email | Gerónimo Fuster Valls | Permitted
Ruff | Mr | Cristina | Rufián Rodríguez | chrisru | chrisru | Interventor | Química | 025 557 4204 | 025 557 4531 | 025 557 3131 | 074 304 5021 | ruffian@example.com | email | Beatriz Ansón Hervás | Permitted
Ruff | Ms | Beatriz | Ansón Hervás | bjorkei | bjorkei | Subdirector | Investigación y desarrollo | 026 561 4280 | 026 561 5217 | 026 561 3187 | 075 3105215 | eistedfodd@example.com | email | Cristina Rufián Rodríguez | Permitted
Sunnyside | Mr | Andrés | Codina Pacheco | andreco | andreco | Director | Investigación y desarrollo | 032 586 5303 | 032 586 6331 | 032 586 5622 | 078 469 7035 | corbin@example.com | email | Armando Díez Segura | Permitted
Sunnyside | Dr | Armando | Díez Segura | churchillvd | churchillvd | Responsable de calidad | Química | 033 594 5575 | 033 594 6673 | 033 594 5761 | 079 524 7454 | vandermerwe@example.com | email | Andrés Codina Pacheco | Permitted

## Container Types
title | description
Sample Container Types
Title | Description
Botella de cristal | Botellas de cristal con rosca superior
Botella de plástico | Botellas de plástico con rosca superior
Bolsa de plástico hermética | Bolsas de plástico con cierre hermético
Bolsa de lona | Bolsas de lona resistentes para muestras de suelo
Tubo de vacío | Tubo de plástico estéril al vacío

## Preservations
title | description | RetentionPeriod_days | RetentionPeriod_hours | RetentionPeriod_minutes
Types of Sample Preservation |  | (Retention Period Is Required)
Title | Description | Retention period - days | Retention period - hours | Retention period - minutes
En frío (4 grados) | Muestra en frío a 4 grados C | 2 | 0 | 0
H2SO4 | pH < 2 | 2 | 0 | 0
HNO3 | pH 2 | 2 | 0 | 0
Na2SO4 |  | 2 | 0 | 0

## Containers
title | description | Capacity | ContainerType_title | PrePreserved | Preservation_title
Sample Containers
Title | Description | Capacity | Container type title | Pre-preserved? | Preservation title
Botella de cristal de 500ml | Botella de cristal de 500ml | 500 ml | Botella de cristal | 0
Botella de cristal AAS de 1L | Botella de cristal de 1 litro | 1 l | Botella de cristal | 0
Botella de plástico de 1L | Botella de plástico de 1 litro | 1 l | Botella de plástico | 0
Botella de plástico química de 2L | Botella de plástico química de 2L | 2 l | Botella de plástico | 0
Botella de cristal pequeña de 500ml | Para micro-testing | 500 ml | Botella de cristal | 0
Bolsa de plástico hermética 10ml | Muy pequeña | 10 ml | Bolsa de plástico hermética | 0
Bolsa de plástico hermética 50ml | Un poco más grande | 50 ml | Bolsa de plástico hermética | 0

## Sample Matrices
title | description
Sample Matrices – 'Sample Type categories'
Title | Description
Pienso | Productos de alimentación para animales
Agua | Distintos tipos de aguas
Fibra | Forraje para animales
Vertidos industriales | Vertidos industriales
Aguas residuales | Aguas residuales
Cereal | Cereal
Fruta y verdura | Fruta y verdura
Fertilizante | Fertilizante
Comida para humanos | Comida para humanos
Polvo | Polvo

## Sample Types
title | description | RetentionPeriod | Hazardous | SampleMatrix_title | Prefix | MinimumVolume | ContainerType_title
Sample Types
Title | Description | Retention period (days) | Hazardous | Sample matrix | Prefix | Minimum volume or weight | Container type
Pulpa de manzana | Pulpa fresca de manzana | 10 | 0 | Fruta y verdura | AP | 100 g | Bolsa de plástico hermética
Cebada | Granulado | 10 | 0 | Cereal | BAR | 100 g | Bolsa de plástico hermética
Pienso a base de sangre | En polvo | 10 | TRUE | Pienso | BM | 100 g | Bolsa de plástico hermética
Salvado verde | Pellets verdes | 10 | 0 | Pienso | BRG | 100 g | Bolsa de plástico hermética
Salvado germinado | Pellets rojos | 10 | 0 | Pienso | BRS | 100 g | Bolsa de plástico hermética
Salvado | Parcialmente granulado | 10 | 0 | Cereal | BR | 100 g | Bolsa de plástico hermética
Canola | Granulado, sin estar molido ni machacado | 10 | 0 | Cereal | CN | 100 g | Bolsa de plástico hermética
Pienso a base de carne | En seco, mantener en frío | 10 | TRUE | Pienso | CM | 100 g | Bolsa de plástico hermética
Siluro | Fresco | 10 | TRUE | Pienso | CT | 100 g | Bolsa de plástico hermética
Grano | Granulado sin estar molido ni machacado | 10 | 0 | Cereal | DG | 100 g | Bolsa de plástico hermética
Pellets para perros | Pellets en seco | 10 | 0 | Pienso | DP | 100 g | Bolsa de plástico hermética
Polvo | Mantener en seco | 10 | 0 | Polvo | DU | 100 g | Bolsa de plástico hermética
Comida para pescado | Pellets | 10 | 0 | Pienso | FF | 100 g | Bolsa de plástico hermética
Carne de pescado | En polvo, mantener en seco | 10 | TRUE | Pienso | FM | 100 g | Bolsa de plástico hermética
Gluten | Polvo blanco | 10 | 0 | Pienso | GLU | 100 g | Bolsa de plástico hermética
Concetrado de crecimiento | Sirope de color marrón | 10 | 0 | Pienso | GC | 100 g | Bolsa de plástico hermética
Forraje | Solo de avena, fresca o deshidratada | 10 | 0 | Fibra | HK | 100 g | Bolsa de plástico hermética
Heno | Cualquier variedad, fresco o deshidratado | 10 | 0 | Fibra | HAY | 100 g | Bolsa de plástico hermética
Lima | Polvo fino | 10 | 0 | Fertilizante | L | 100 g | Bolsa de plástico hermética
Virutas de lima | Áspero | 10 | 0 | Fertilizante | LG | 100 g | Bolsa de plástico hermética
Lohman para cría | Comida para gallinas de puesta | 10 | 0 | Pienso | LB | 100 g | Bolsa de plástico hermética
Lohman para desarrollo | Comida de pollos para consumo en parrilla | 10 | 0 | Pienso | LD | 100 g | Bolsa de plástico hermética
Lohman organico | Comida orgánica para pollos | 10 | 0 | Pienso | LO | 100 g | Bolsa de plástico hermética
Alfalfa | Fresca o deshidratada. Al menos 99% de alfalfa | 10 | 0 | Fibra | LUC | 100 g | Bolsa de plástico hermética
Lupino | En grano | 10 | 0 | Cereal | LUP | 100 g | Bolsa de plástico hermética
Polvo de leche | En polvo, mantener en seco | 10 | TRUE | Comida para humanos | MP | 100 g | Bolsa de plástico hermética
Mono Calphos | Fertilizante orgánico | 10 | TRUE | Fertilizante | MC | 100 g | Bolsa de plástico hermética
Nulaid | Comida Nulaid para gallinas de puesta | 10 | 0 | Pienso | NU | 100 g | Bolsa de plástico hermética
Comida para loros | Granos | 10 | 0 | Pienso | PF | 100 g | Bolsa de plástico hermética
Crecimiento en cerdos | Mezcla en grano, principalmente maíz | 10 | 0 | Pienso | PG | 100 g | Bolsa de plástico hermética
Patata | Patata fresca | 10 | 0 | Comida para humanos | POT | 100 g | Bolsa de plástico hermética
Soja | Semillas enteras | 10 | 0 | Cereal | SOY | 100 g | Bolsa de plástico hermética
Paja | Fresca o deshidratada. Cualquier variedad | 10 | 0 | Fibra | ST | 100 g | Bolsa de plástico hermética
Pipas | En grano | 10 | 0 | Cereal | SON | 100 g | Bolsa de plástico hermética
Comida para truchas | Pellets. Fuerte olor | 10 | TRUE | Pienso | TF | 100 g | Bolsa de plástico hermética
Agua | Potable o de río. No residual | 10 | TRUE | Agua | WH | 100 ml | Botella de cristal
Trigo | En grano | 10 | TRUE | Cereal | WH | 100 g | Bolsa de plástico hermética
Suero de leche | Para la producción de quesos. Mantener refrigerada | 10 | TRUE | Pienso | WH | 100 g | Botella de cristal
Maíz blanco | En grano | 10 | 0 | Cereal | WM | 100 g | Bolsa de plástico hermética
Maíz amarillo | En grano | 10 | 0 | Cereal | YM | 100 g | Bolsa de plástico hermética

## Sample Points
Client_title | title | description | Latitude | Longitude | Elevation | Composite | SampleType_title
Sample Points
Client title | Title | Description | Latitude | Longitude | Elevation | Composite? | Sample type title
| Barreno 12 | Barreno de granja para ovejas |  |  |  | 0 | Agua
| Restaurante de parrilladas del oeste | Restaurante de parrilladas del oeste |  |  |  | 0
| Granja de Roiko | Campos de patatas |  |  |  | 0
| Existencias en seco | Línea de producción 2 |  |  |  | 0
| Molino | Línea de producción 2 |  |  |  | 0
| Batidora | Línea de producción 2 |  |  |  | 0
| Embaladora | Línea de producción 2 |  |  |  | 0
| Despacho | Línea de producción 2 |  |  |  | 0
| Lago Bruma | Lago púlico |  |  |  | 0 | Agua
| Tienda – Supermercado BB | De las estanterías |  |  |  | 0
| Matadero | Bruto |  |  |  | 0

## Sample Point Sample Types
SamplePoint_title | SampleType_title
Sample Point Sample Types
Sample point | Sample type

## Methods
title | description | Instructions | MethodDocument
Analysis Methods
Title | Description | Instructions | Method document
Valoración | A titration is a method of analysis that will allow you to determine the precise endpoint of a reaction and therefore the precise quantity of reactant in the titration flask. A buret is used to deliver the second reactant to the flask and an indicator of pH Meter is used to detect the endpoint of the reaction | Lorem ipsum dolor sit amet, dis laoreet eleifend wisi, phasellus adipiscing maecenas enim pharetra fermentum, mauris arcu sed quis, ante eros eleifend mollis integer lorem. Pulvinar et porttitor, velit id gravida quisque. Porttitor maecenas proin augue.
RT-PCR | Reverse Transcriptase Polymerase Chain Reaction - Powerful technique for producing millions of copies of specific parts of the genetic code of an organism so that it may be readily analyzed. More specifically, RT-PCR produces copies of a specific region of complementary DNA that has been converted from RNA. The technique is often used to help in the identification of an infectious agent | Vestibulum eget tincidunt ipsum mauris suspendisse, dictum at, faucibus habitasse consequat, orci turpis in sed amet ut, ullamcorper pellentesque semper ipsum magna sit. Amet odio erat bibendum, ac amet officiis erat, donec ultricies tincidunt orci.
QuEChERS | QuEChERS (pronounced Catchers), an acronym for Quick, Easy, Cheap, Effective, Rugged and Safe, is a sample extraction and clean-up technique widely used for the analysis of multiple residues in hydrated agricultural product | Mauris suspendisse nulla tempus, dolore ante. Mollis nunc. Sed dui nibh ultrices parturient, at porta in, dapibus pretium urna luctus sed donec amet, in nulla consectetuer nec ultrices euismod volutpat. Lacus felis nulla nunc. At a luctus pharetra justo varius orci, cursus neque blandit semper eu ipsum, vitae id rutrum, id scelerisque. Libero suscipit sem etiam quis, aenean mi rutrum, bibendum eget felis donec libero imperdiet ullamcorper.
FIA | Flow Injection Analysis - microchemical technique to automate wet chemical methods. In a FIA system, a carrier solution and the chemical reagents are continuously pumped through tubes, mixing coils and finally through a flow cell in a detector. A small portion of the sample is injected into the carrier. The carrier merges with one or more reagents to produce a chemical reaction. The resulting colour change in the sample zone is measured in the detector. The time between injection and detection is typically 1 minute. The dispersion or dilution of the sample zone is controlled by the system components, i.e. injected volume, flow rates and length and diameter of the tubing. When the dispersed sample zone reaches the flow cell of the detector neither the chemical reaction nor the dispersion process must have reached completion or a steady state. Keeping identical conditions for both samples and standards makes evaluation and quantification reproducible and precise | Eget urna gravida luctus. Vestibulum faucibus vel, lacinia vivamus. Vel quam et amet mauris, massa ut, amet amet elit, velit leo arcu sapien. At a dolor, pellentesque morbi lorem maecenas ut sit nunc, risus nec vel scelerisque, lobortis in mauris wisi justo, arcu eu mus vel turpis erat odio.
Elution | The process of extracting one material from another by washing with a solvent to remove adsorbed material from an adsorbent, as in washing of loaded ion-exchange resins to remove captured ions | Amet luctus in ante. Phasellus erat vel id posuere purus. Donec eu a libero vel donec justo, nibh sollicitudin et ipsum molestie. Neque congue magna, cras natoque lectus consectetuer, class dolor ut a erat, ultrices non mauris elementum pede, odio praesent cupidatat arcu.
ELISA | Enzyme-linked immunosorbent assay - A sensitive technique for accurately determining specific molecules in a mixed sample. The amount of protein or other antigen in a given sample is determined by means of an enzyme-catalysed colour change, avoiding both the hazards and expense of radioactive techniques. www.fao.org. an assay that relies on an enzymatic conversion reaction and is used to detect the presence of specific substances such as enzymes or viruses or antibodies or bacteria. wordnet.princeton.edu. A positive ELISA test generally is confirmed by the Western Blot test Method document: | Diam accumsan litora arcu lectus. Ut perferendis scelerisque a, vel leo sodales ac at venenatis bibendum. Nec dolor metus, nam non dictum leo. Justo vestibulum elit ac vestibulum ac, venenatis nibh est nec vulputate ultricies lacus, proin penatibus sem vestibulum, orci ipsum lectus nobis. Amet mus vitae est quisque, at in amet nulla nulla sagittis ultricies, gravida at eros nunc in vitae scelerisque, mattis ullamcorper rutrum, felis maecenas gravida pede blandit.
AES | Auger Electron Spectroscopy - Auger (pronounced ~o-jay) electron spectroscopy is an electron spectroscopic method that uses a beam of electrons to knock electrons out of inner-shell orbitals. Auger electrons are ejected to conserve energy when electrons in higher shells fill the vacancy in the inner shell. These Auger electrons have energies characteristic of the emitting atom due to the characteristic energy-level structure of that element | Donec senectus elit luctus dignissim, lorem vitae neque, nec est gravida lorem ultricies egestas ultrices, quam dolor mi amet. Ac elit pellentesque, mauris et, fermentum ut tellus arcu nonummy, justo dui ut ad taciti rhoncus vel. Proin sed diam consequat, in sed vivamus ultricies metus ac lectus. Massa imperdiet et, nunc vel sed elementum aenean sed a, nec ipsum ligula voluptate iaculis minim sodales, nibh lorem proin taciti quam.
12 dB SINAD | The most common use of the SINAD measurement is to assess the sensitivity performance of a radio receiver. To achieve this the sensitivity can be assessed by determining the RF input level at the antenna that is required to achieve a given figure of SINAD. Normally a SINAD value of 12 dB is taken as this corresponds to a distortion factor of 25%, and a modulating tone of 1 kHz is used. It is also necessary to determine other conditions. For AM it is necessary to specify the depth of modulation and for FM the level of deviation is required. For FM analogue systems ETSI specifies the use of a deviation level of 12.5% of the channel spacing A typical specification might be that a receiver has a sensitivity of 0.25 uV [microvolts] for a 12 dB SINAD. Obviously the lower the input voltage needed to achieve the given level of SINAD, the better the receiver performance. | Ante sit morbi habitasse, risus augue velit tellus augue, enim sit vitae a. Massa leo, hymenaeos quam, dolor leo nullam nulla, dictumst dolor, donec nonummy tincidunt primis ligula erat.
Espectroscopía de proteínas | Spectroscopic Methods for Analysis of Protein Secondary Structure | Mauris viverra, porta convallis potenti molestie tellus, sit lacus vehicula sit pellentesque pellentesque faucibus. Risus arcu, est ultrices duis leo quis, tortor senectus tellus orci dapibus id. Fusce curae rutrum odio, ipsum amet amet, quis ut leo vitae eget tempor, pulvinar ut aptent at quam, magna enim vulputate sed et eum eu. Ut pellentesque suscipit adipiscing, nunc donec lacus tortor sed cursus, nec sed.
Espectroscopía infraroja |  | Amet luctus in ante. Phasellus erat vel id posuere purus. Donec eu a libero vel donec justo, nibh sollicitudin et ipsum molestie. Neque congue magna, cras natoque lectus consectetuer, class dolor ut a erat, ultrices non mauris elementum pede, odio praesent cupidatat arcu. Ante sit morbi habitasse, risus augue velit tellus augue, enim sit vitae a. Massa leo, hymenaeos quam, dolor leo nullam nulla, dictumst dolor, donec nonummy tincidunt primis ligula erat.
Maldi-tof | Maldi-tof mass Spectrometry of Bacteria | Diam accumsan litora arcu lectus. Ut perferendis scelerisque a, vel leo sodales ac at venenatis bibendum. Nec dolor metus, nam non dictum leo. Justo vestibulum elit ac vestibulum ac, venenatis nibh est nec vulputate ultricies lacus, proin penatibus sem vestibulum, orci ipsum lectus nobis. Amet mus vitae est quisque, at in amet nulla nulla sagittis ultricies, gravida at eros nunc in vitae scelerisque, mattis ullamcorper rutrum, felis maecenas gravida pede blandit.

## Manufacturers
title | description
Manufacturers
Title | Description
Cropscan
Blott
Bavarian
Pelmer Erkin
Yatsi
Fermo Thisher
Beica
Neiss
NIRTech
Bade Dehring
Deckban
Bunico
Bach
Darl Nischer
Fermo Tisher
Bartorius
Bohaus
Boss
Fábrica de referencia | Primera fábrica referencia en fabricación de patrones

## Suppliers
Name | TaxNumber | Phone | Fax | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country | Billing_Address | Billing_City | Billing_State | Billing_Zip | Billing_Country | AccountNumber
Suppliers |  |  |  |  | Physical Address |  |  |  |  | Postal Address |  |  |  |  | Billing Address
Name | Tax Number | Phone | Fax | Email Address | Address | City | State | Zip | Country | Address | City | State | Zip | Country | Address | City | State | Zip | Country | AccountNumber
Proveedor genérico | 12345 | 012 440 9555 | 012 440 9765 | supplier@example.com
Proveedor de referencia | 12345 | 012 440 8445 | 012 440 8447 | supplier@example.com

## Supplier Contacts
Supplier_Name | Salutation | Firstname | Surname | JobTitle | Department | BusinessPhone | BusinessFax | HomePhone | MobilePhone | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Supplier Contacts | [10 empty] | Physical Address |  |  |  |  | Postal Address
Supplier Name | Salutation | First name | Surname | Job Title | Department | Business Phone | Business Fax | Home Phone | Mobile Phone | EmailAddress | Address | City | State | Zip | Country | Address | City | State | Zip | Country
Proveedor genérico | Mr | Bob | Dobson | Salesman | Sales | 028 274 8819 | 086 222 3600 |  | 089 445 0440 | dobson@example.come | 1 main street | Pringle Bay | Western Province | 7195 | South Africa | PO Box 10 000 | Pringle Bay | Western Province | 7195 | South Africa
Proveedor de referencia | Mr | Bob | Dobson | Salesman | Sales | 028 274 8819 | 086 222 3600 |  | 089 445 0440 | dobson@example.come | 1 main street | Pringle Bay | Western Province | 7195 | South Africa | PO Box 10 000 | Pringle Bay | Western Province | 7195 | South Africa

## Instrument Types
title | description
Instrument Types
Title | Description
NIR
Valorador automático
AA
Medidor de conductividad
Espectrómetro de masas
Microscopio
NIR
Analizador de proteínas
Espectrofotómetro
Medidor de turbidez
Espectrofotómetro Un/Vis
Incubadora
Balanza electrónica
Fiastar

## Instruments
title | description | Type | Brand | Supplier | Model | SerialNo | CalibrationCertificate | CalibrationExpiryDate | DataInterface | DataInterfaceOptions
Lab Instruments |  | Instruments
Title | Description | Instrument type | Brand/Manufacturer | Supplier | Model | Serial no | Calibration certificate | Calibration expiry date | Data interface | Data interface options
CropScan | El mejor analizador de grano, estantería 3 | NIR | Cropscan | Proveedor genérico | 2000B | 30308 | SANCal 11/6010 | 2012-12-12 |  | 41255
Valorador Blott | Valorador automático | Valorador automático | Blott | Proveedor genérico | PFT2000 | 39515 | SANCal 11/8236 | 2012-12-12 |  | 41255
AA 1 | Espectrofotómetro de Absorción Atómica | AA | Bavarian | Proveedor genérico | AAziczic | 58227 | SANCal 11/5783 | 2012-12-12 |  | 41255
AA 2 | Espectrofotómetro de Absorción Atómica | AA | Pelmer Erkin | Proveedor genérico | 5000m | 79514 | SANCal 11/4545 | 2012-12-12 |  | 41255
Medidor de conductividad | Medidor de conductividad en líquidos | Medidor de conductividad | Yatsi | Proveedor genérico | 1010 | 35453 | SANCal 11/3691 | 2012-12-12 |  | 41255
Espectrómetro 1 | Espectrómetro de masas | Espectrómetro de masas | Fermo Thisher | Proveedor genérico | TSQ 7000 | 43516 | SANCal 11/5953 | 2012-12-12 |  | 41255
Microscope (Beica) | Microscopio óptico | Microscopio | Beica | Proveedor genérico | CosmoStar IV | 80586 | SANCal 11/2475 | 2012-12-12 |  | 41255
Microscope (Neiss) | Microscopio óptico | Microscopio | Neiss | Proveedor genérico | RX Stellar | 32128 | SANCal 11/5577 | 2012-12-12 |  | 41255
NIRTech | Analizador de ondas cercanas a infrarojos | NIR | NIRTech | Proveedor genérico | Series 2000 | 66153 | SANCal 11/4059 | 2012-12-12 |  | 41255
Analizador de proteínas | Proteínas | Analizador de proteínas | Bade Dehring | Proveedor genérico | Turbsolve 12 | 63453 | SANCal 11/8772 | 2012-12-12 |  | 41255
Espectrómetro 2 | Espectrofotómetro | Espectrofotómetro | Deckban | Proveedor genérico | FUD-55 | 27204 | SANCal 11/2593 | 2012-12-12 |  | 41255
Espectrómetro 3 | Espectrofotómetro | Espectrofotómetro | Bunico | Proveedor genérico | 1001 | 37860 | SANCal 11/2757 | 2012-12-12 |  | 41255
Bach | Medidor de turbidez | Medidor de turbidez | Bach | Proveedor genérico | XRatio 1 | 27605 | SANCal 11/5877 | 2012-12-12 |  | 41255
Espectrómetro 4 | Espectrofotómetro Un/Vis | Espectrofotómetro Un/Vis | Pelmer Erkin | Proveedor genérico | Delta 3Z | 77142 | SANCal 11/6977 | 2012-12-12 |  | 41255
Estación de valaración 1 | Valorador automático | Valorador automático | Darl Nischer | Proveedor genérico | TJ100 | 75888 | SANCal 11/7889 | 2012-12-12 |  | 41255
Incubadora 1 | Incubadora antigua | Incubadora | Fermo Tisher | Proveedor genérico | Scientific Midi 12 | 41163 | SANCal 11/2837 | 2012-12-12 |  | 41255
Incubadora 2 | Incubadora nueva | Incubadora | Fermo Tisher | Proveedor genérico | Scientific Midi 40 | 32921 | SANCal 11/4648 | 2012-12-12 |  | 41255
Balanza a recepción | Balanza de precisión | Balanza electrónica | Bartorius | Proveedor genérico | DIK50 Mark II | 32128 | SANCal 11/5577 | 2012-12-12 |  | 41255
Balanza del lab 1 | Balanza de precisión | Balanza electrónica | Bohaus | Proveedor genérico | BB22DD | 66153 | SANCal 11/4059 | 2012-12-12 |  | 41255
Balanza del lab 2 | Balanza de precisión | Balanza electrónica | Bohaus | Proveedor genérico | BB22DD | 63453 | SANCal 11/8772 | 2012-12-12 |  | 41255
Fiastar | FIA Star v1 and v2 | Fiastar | Boss | Proveedor genérico | Fiastar | 37877 | SANCal 11/8773 | 2012-12-12 | Fiastar | 41255 | Fiastar

## Instrument Validations
title | instrument | downfrom | downto | validator | considerations | workperformed | remarks
Instrument Validations
Title | Instrument | Down from | Down to | Validator | Considerations | Work performed | Remarks
Validación de conductividad | Medidor de conductividad | 2013-01-01 | 2013-01-10 | John Steerling | Check if instrument is plugged before | Some measuraments using salty water
Precision check routine | Balanza del lab 1 | 2013-02-02 | 2013-02-02 | Iona Smith

## Instrument Calibrations
title | instrument | downfrom | downto | calibrator | considerations | workperformed | remarks
Instrument Calibrations
Title | Instrument | Down from | Down to | Calibrator | Considerations | Work performed | Remarks
Spectro calibration | Espectrómetro 1 | 2013-01-01 | 2013-01-04 | Professional Calibrations Inc.
Spectro calibration 2 | Espectrómetro 2 | 2013-02-02 | 2013-01-05 | Professional Calibrations Inc. | Easiest to calibrate than Spectro 1

## Instrument Certifications
title | instrument | date | validfrom | validto | agency | remarks
Instrument Certifications
Certification code | Instrument | Date | Valid from | Valid to | Agency | Remarks
SANCal 11/6010 | CropScan | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/8236 | Valorador Blott | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/5783 | AA 1 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/4545 | AA 2 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/3691 | Medidor de conductividad | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/5953 | Espectrómetro 1 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/2475 | Microscope (Beica) | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/5577 | Microscope (Neiss) | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/4059 | NIRTech | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/8772 | Analizador de proteínas | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/2593 | Espectrómetro 2 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/2757 | Espectrómetro 3 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/5877 | Bach | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/6977 | Espectrómetro 4 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/7889 | Estación de valaración 1 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/2837 | Incubadora 1 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/4648 | Incubadora 2 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/5577 | Balanza a recepción | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/4059 | Balanza del lab 1 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/8772 | Balanza del lab 2 | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 11/8773 | Fiastar | 2012-01-02 | 2012-01-03 | 2012-12-12 | SANCal
SANCal 13/6011 | CropScan | 2013-01-01 | 2013-01-03 | 2013-12-12 | SANCal

## Instrument Maintenance Tasks
title | description | instrument | type | downfrom | downto | maintaner | considerations | workperformed | cost | closed | remarks
Instrument Maintenance Tasks
Title | Description | Instrument | Type | Down from | Down to | Maintainer | Considerations | Work performed | Cost | Closed | Remarks
Spectro 1 cleaning | Cleaning of the Spectrometer 1 | Espectrómetro 1 | Preventive | 2013-01-01 | 2013-01-02 | John Steerling |  |  | 120 | 1
Lents replacement | Replacement of lents | Microscope (Neiss) | Enhancement | 2013-02-02 | 2013-02-05 | Neiss |  |  | 357 | 1
Repair connector | Repair connector of the electronic device | Balanza del lab 2 | Repair | 2013-01-12 | 2013-01-18 | Balances and more |  |  | 320 | 1

## Instrument Schedule
title | description | instrument | type | date | numrepeats | periodicity | repeatuntil | considerations
Instrument Schedule
Ttile | Description | Instrument | Type | Date | Repeat... | … every | Repeat until | Considerations

## Analysis Categories
title | description | Department_title
Analysis Categories
Title | Description | Department
Química de alimentos | Análisis químicos para alimentación | Química
Energía | Valor energético de alimentos | Química
Metales | Trazas de metales en comida y agua | Química
Microbiología | Análisis microbiológicos agrupados | Microbiología
Miscelánea | Si no es aplicable a otra categoría, póngala aquí | Química
Proteínas | Contenido de proteínas en comida, fresca o seca | Química
Toxinas | Concentración de toxinas en comida fresca o de pre-preparada | Química
Química del agua | Solo aplicable para análisis de aguas | Química

## Analysis Services
title | description | Keyword | PointOfCapture | AnalysisCategory_title | Department_title | ReportDryMatter | Attachment | Unit | Precision | MaxTimeAllowed_days | MaxTimeAllowed_hours | MaxTimeAllowed_minutes | Price | BulkPrice | VAT | Method | Instrument_title | Calculation_title | DuplicateVariation | Accredited | Uncertainties | Result Value | Range Min | Range Max
Analysis Services - The 'tests' Offered By The Lab | [9 empty] | Maximum Turnaround Time
Title | Description | Keyword | Point of capture | Analysis category | Lab department | Can be reported as dry matter? | Results file attachment permitted | Unit | Precision | Days | Hours | Minutes | Price | Bulk price | Vat | Method | Instrument | Calculation | Duplicate variation % | Accredited
Temperatura | Temperatura durante el muestreo | Temp | field | Química del agua | Muestreo | FALSE | Permitted | Deg. C | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
pH (campo) | pH en el momento del muestreo | pHField | field | Química del agua | Muestreo | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Aflatoxinas total | HPLC, técnicas de Immuno-fluorescéncia e Immuno-química | Aflatox | lab | Toxinas | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Ceniza | El material orgánico se ha eliminado de la muestra mediante horno de altas temperaturas. La cantidad de residuo mineral en ceniza se calcula por la diferencia de peso. | Ash | lab | Miscelánea | Química | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Peso residual | 10 | FALSE
Calcio |  | Ca | lab | Metales | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Valoración | 10 | FALSE
Cloro |  | Clide | lab | Química del agua | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Cloro residual |  | Cl | lab | Química del agua | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Valoración | 10 | FALSE
COD |  | COD | lab | Química del agua | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Conductividad @ 25 ºC |  | Conductivity | lab | Miscelánea | Química | FALSE | Permitted | mS/m | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Cobre |  | Cu | lab | Metales | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Extracto de éter |  | EE | lab | Energía | Química | FALSE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Grasa cruda |  | FatCrude | lab | Energía | Química | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Pérdida de peso (tara) | 10 | FALSE
Fibra – ADF |  | FibADF | lab | Energía | Química | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Pérdida de peso | 10 | FALSE
Fibra – Cruda |  | CF | lab | Energía | Química | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Fibra – NDF |  | NDF | lab | Energía | Química | TRUE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Peso residual (tara) | 10 | FALSE
Fluoride |  | F | lab | Metales | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Hierro |  | Fe | lab | Metales | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Lignina |  | Lignin | lab | Proteínas | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Peso residual | 10 | 1
Magnesio |  | Mg | lab | Metales | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Manganeso |  | Mn | lab | Metales | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Humedad | El resultado se determina por la fórmula: (muestra hidratada – muestra seca) / (muestra hidratada – contenedor) | Moist | lab | Miscelánea | Química | FALSE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Pérdida de peso | 10 | 1
Nitratos y nitritos |  | N | lab | Metales | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Fósforo |  | Phos | lab | Metales | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
pH (laboratorio) |  | pH | lab | Miscelánea | Química | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Fósforo total |  | PhosTot | lab | Miscelánea | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Proteína - ADIP |  | ADIPP | lab | Proteínas | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Proteína – NDIP |  | NDIPP | lab | Proteínas | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Valoración | 10 | FALSE
Proteína (Solubilidad en KOH) | Método de solubilidad en KOH para el análisis de proteínas | KOHP | lab | Proteínas | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Proteína (Soluble) | Principle: The sample is incubated in a buffered artificial saliva solution to solubilise the protein. The difference between the nitrogen in the filter paper residue and that in original sample gives the soluble protein fraction. Reference: ALASA method 4.5 | SP | lab | Proteínas | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Proteína en crudo |  | CP | lab | Proteínas | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Sodio |  | Na | lab | Metales | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Almidón |  | STA | lab | Energía | Química | FALSE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Azúcares | Total sugars as invert sugar | SUG | lab | Energía | Química | FALSE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Sulfato |  | SO4 | lab | Miscelánea | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Sólidos en suspensión | Suspended solid testing methods | SS | lab | Química del agua | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
TDS (calculado) |  | CTDS | lab | Química del agua | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Alcalinidad total (CaCO3) |  | CaCO3 | lab | Química del agua | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Dureza total (THCaCO3) |  | THCaCO3 | lab | Química del agua | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Urea |  | Urea | lab | Miscelánea | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Zinc |  | Zn | lab | Metales | Química | FALSE | Permitted | mg/l | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Materia seca | Description for percentage dry matter. Dependant on Moisture | DM | lab | Miscelánea | Química | FALSE | Permitted | % | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Materia seca | 10 | FALSE
DE – Energía Digerible | DE se utiliza para la alimentación en cerdos | DE | lab | Energía | Química | FALSE | Permitted | MJ/kg | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | Energía digerible | 10 | 1
Clostridia | Método de incubación ISO | Clos | lab | Microbiología | Microbiología | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Enterococcus | Método de incubación ISO | Entero | lab | Microbiología | Microbiología | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Ecoli | Método de incubación ISO | Ecoli | lab | Microbiología | Microbiología | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Salmonella | Método de incubación ISO | Salmon | lab | Microbiología | Microbiología | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Ecoli (recuento) | Método de incubación ISO | Ecolicnt | lab | Microbiología | Microbiología | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
Enterococcus (recuento) | Método de incubación ISO | Enterocnt | lab | Microbiología | Microbiología | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | FALSE
Recuento total de bacterias viables | Método de incubación ISO | TVBcnt | lab | Microbiología | Microbiología | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  |  | 10 | 1
FS02 | Fiastar FSO2 | FSO2 | lab | Miscelánea | Química | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | FSO2 | 10 | FALSE
TSO2 | Fiastar TSO2 | TSO2 | lab | Miscelánea | Química | FALSE | Permitted |  | 2 | 0 | 2 | 0 | 10 | 7.5 | 14 |  |  | TSO2 | 10 | 1

## AnalysisService InterimFields
Service_title | keyword | title | value | unit
Interim Fields Used In Analysis Services
Service Title | Keyword | Field Title | Default value | Unit

## AnalysisService ResultOptions
Service_title | ResultText | ResultValue
Analysis Services results options
Title | Result options | Result value
Clostridia | Negativo | 0
Clostridia | Positivo | 1
Clostridia | Indeterminado | 2
Enterococcus | Negativo | 0
Enterococcus | Positivo | 1
Enterococcus | Indeterminado | 2
Ecoli | Negativo | 0
Ecoli | Positivo | 1
Ecoli | Indeterminado | 2
Salmonella | Negativo | 0
Salmonella | Positivo | 1
Salmonella | Indeterminado | 2

## Analysis Service Uncertainties
Service_title | Range Min | Range Max | Uncertainty Value
Analysis Service Uncertainties
Analysis service title | Result Range min | Result range max | Uncertainty value
Temperatura | 0 | 2.3 | 0.1
Temperatura | 2.01 | 4 | 0.2
Temperatura | 4.01 | 6 | 0.3
Temperatura | 6.01 | 8 | 0.4
Temperatura | 8.01 | 999 | 0.5
pH (campo) | 0 | 2 | 0.1
pH (campo) | 2.01 | 4 | 0.2
pH (campo) | 4.01 | 6 | 0.3
pH (campo) | 6.01 | 8 | 0.4
pH (campo) | 8.01 | 999 | 0.5
Aflatoxinas total | 0 | 2 | 0.1
Aflatoxinas total | 2.01 | 4 | 0.2
Aflatoxinas total | 4.01 | 6 | 0.3
Aflatoxinas total | 6.01 | 8 | 0.4
Aflatoxinas total | 8.01 | 999 | 0.5
Ceniza | 0 | 2 | 0.1
Ceniza | 2.01 | 4 | 0.2
Ceniza | 4.01 | 6 | 0.3
Ceniza | 6.01 | 8 | 0.4
Ceniza | 8.01 | 999 | 0.5
Calcio | 0 | 2 | 0.1
Calcio | 2.01 | 4 | 0.2
Calcio | 4.01 | 6 | 0.3
Calcio | 6.01 | 8 | 0.4
Calcio | 8.01 | 999 | 0.5
Cloro | 0 | 2 | 0.1
Cloro | 2.01 | 4 | 0.2
Cloro | 4.01 | 6 | 0.3
Cloro | 6.01 | 8 | 0.4
Cloro | 8.01 | 999 | 0.5
Cloro residual | 0 | 2 | 0.1
Cloro residual | 2.01 | 4 | 0.2
Cloro residual | 4.01 | 6 | 0.3
Cloro residual | 6.01 | 8 | 0.4
Cloro residual | 8.01 | 999 | 0.5
COD | 0 | 2 | 0.1
COD | 2.01 | 4 | 0.2
COD | 4.01 | 6 | 0.3
COD | 6.01 | 8 | 0.4
COD | 8.01 | 999 | 0.5
Conductividad @ 25 ºC | 0 | 2 | 0.1
Conductividad @ 25 ºC | 2.01 | 4 | 0.2
Conductividad @ 25 ºC | 4.01 | 6 | 0.3
Conductividad @ 25 ºC | 6.01 | 8 | 0.4
Conductividad @ 25 ºC | 8.01 | 999 | 0.5
Cobre | 0 | 2 | 0.1
Cobre | 2.01 | 4 | 0.2
Cobre | 4.01 | 6 | 0.3
Cobre | 6.01 | 8 | 0.4
Cobre | 8.01 | 999 | 0.5
Extracto de éter | 0 | 2 | 0.1
Extracto de éter | 2.01 | 4 | 0.2
Extracto de éter | 4.01 | 6 | 0.3
Extracto de éter | 6.01 | 8 | 0.4
Extracto de éter | 8.01 | 999 | 0.5
Grasa cruda | 0 | 2 | 0.1
Grasa cruda | 2.01 | 4 | 0.2
Grasa cruda | 4.01 | 6 | 0.3
Grasa cruda | 6.01 | 8 | 0.4
Grasa cruda | 8.01 | 999 | 0.5
Fibra – ADF | 0 | 2 | 0.1
Fibra – ADF | 2.01 | 4 | 0.2
Fibra – ADF | 4.01 | 6 | 0.3
Fibra – ADF | 6.01 | 8 | 0.4
Fibra – ADF | 8.01 | 999 | 0.5
Fibra – Cruda | 0 | 2 | 0.1
Fibra – Cruda | 2.01 | 4 | 0.2
Fibra – Cruda | 4.01 | 6 | 0.3
Fibra – Cruda | 6.01 | 8 | 0.4
Fibra – Cruda | 8.01 | 999 | 0.5
Fibra – NDF | 0 | 2 | 0.1
Fibra – NDF | 2.01 | 4 | 0.2
Fibra – NDF | 4.01 | 6 | 0.3
Fibra – NDF | 6.01 | 8 | 0.4
Fibra – NDF | 8.01 | 999 | 0.5
Fluoride | 0 | 2 | 0.1
Fluoride | 2.01 | 4 | 0.2
Fluoride | 4.01 | 6 | 0.3
Fluoride | 6.01 | 8 | 0.4
Fluoride | 8.01 | 999 | 0.5
Hierro | 0 | 2 | 0.1
Hierro | 2.01 | 4 | 0.2
Hierro | 4.01 | 6 | 0.3
Hierro | 6.01 | 8 | 0.4
Hierro | 8.01 | 999 | 0.5
Lignina | 0 | 2 | 0.1
Lignina | 2.01 | 4 | 0.2
Lignina | 4.01 | 6 | 0.3
Lignina | 6.01 | 8 | 0.4
Lignina | 8.01 | 999 | 0.5
Magnesio | 0 | 2 | 0.1
Magnesio | 2.01 | 4 | 0.2
Magnesio | 4.01 | 6 | 0.3
Magnesio | 6.01 | 8 | 0.4
Magnesio | 8.01 | 999 | 0.5
Manganeso | 0 | 2 | 0.1
Manganeso | 2.01 | 4 | 0.2
Manganeso | 4.01 | 6 | 0.3
Manganeso | 6.01 | 8 | 0.4
Manganeso | 8.01 | 999 | 0.5
Humedad | 0 | 2 | 0.1
Humedad | 2.01 | 4 | 0.2
Humedad | 4.01 | 6 | 0.3
Humedad | 6.01 | 8 | 0.4
Humedad | 8.01 | 999 | 0.5
Nitratos y nitritos | 0 | 2 | 0.1
Nitratos y nitritos | 2.01 | 4 | 0.2
Nitratos y nitritos | 4.01 | 6 | 0.3
Nitratos y nitritos | 6.01 | 8 | 0.4
Nitratos y nitritos | 8.01 | 999 | 0.5
Fósforo | 0 | 2 | 0.1
Fósforo | 2.01 | 4 | 0.2
Fósforo | 4.01 | 6 | 0.3
Fósforo | 6.01 | 8 | 0.4
Fósforo | 8.01 | 999 | 0.5
pH (laboratorio) | 0 | 2 | 0.1
pH (laboratorio) | 2.01 | 4 | 0.2
pH (laboratorio) | 4.01 | 6 | 0.3
pH (laboratorio) | 6.01 | 8 | 0.4
pH (laboratorio) | 8.01 | 999 | 0.5
Fósforo total | 0 | 2 | 0.1
Fósforo total | 2.01 | 4 | 0.2
Fósforo total | 4.01 | 6 | 0.3
Fósforo total | 6.01 | 8 | 0.4
Fósforo total | 8.01 | 999 | 0.5
Proteína - ADIP | 0 | 2 | 0.1
Proteína - ADIP | 2.01 | 4 | 0.2
Proteína - ADIP | 4.01 | 6 | 0.3
Proteína - ADIP | 6.01 | 8 | 0.4
Proteína - ADIP | 8.01 | 999 | 0.5
Proteína – NDIP | 0 | 2 | 0.1
Proteína – NDIP | 2.01 | 4 | 0.2
Proteína – NDIP | 4.01 | 6 | 0.3
Proteína – NDIP | 6.01 | 8 | 0.4
Proteína – NDIP | 8.01 | 999 | 0.5
Proteína (Solubilidad en KOH) | 0 | 2 | 0.1
Proteína (Solubilidad en KOH) | 2.01 | 4 | 0.2
Proteína (Solubilidad en KOH) | 4.01 | 6 | 0.3
Proteína (Solubilidad en KOH) | 6.01 | 8 | 0.4
Proteína (Solubilidad en KOH) | 8.01 | 999 | 0.5
Proteína (Soluble) | 0 | 2 | 0.1
Proteína (Soluble) | 2.01 | 4 | 0.2
Proteína (Soluble) | 4.01 | 6 | 0.3
Proteína (Soluble) | 6.01 | 8 | 0.4
Proteína (Soluble) | 8.01 | 999 | 0.5
Proteína en crudo | 0 | 2 | 0.1
Proteína en crudo | 2.01 | 4 | 0.2
Proteína en crudo | 4.01 | 6 | 0.3
Proteína en crudo | 6.01 | 8 | 0.4
Proteína en crudo | 8.01 | 999 | 0.5
Sodio | 0 | 2 | 0.1
Sodio | 2.01 | 4 | 0.2
Sodio | 4.01 | 6 | 0.3
Sodio | 6.01 | 8 | 0.4
Sodio | 8.01 | 999 | 0.5
Almidón | 0 | 2 | 0.1
Almidón | 2.01 | 4 | 0.2
Almidón | 4.01 | 6 | 0.3
Almidón | 6.01 | 8 | 0.4
Almidón | 8.01 | 999 | 0.5
Azúcares | 0 | 2 | 0.1
Azúcares | 2.01 | 4 | 0.2
Azúcares | 4.01 | 6 | 0.3
Azúcares | 6.01 | 8 | 0.4
Azúcares | 8.01 | 999 | 0.5
Sulfato | 0 | 2 | 0.1
Sulfato | 2.01 | 4 | 0.2
Sulfato | 4.01 | 6 | 0.3
Sulfato | 6.01 | 8 | 0.4
Sulfato | 8.01 | 999 | 0.5
Sólidos en suspensión | 0 | 2 | 0.1
Sólidos en suspensión | 2.01 | 4 | 0.2
Sólidos en suspensión | 4.01 | 6 | 0.3
Sólidos en suspensión | 6.01 | 8 | 0.4
Sólidos en suspensión | 8.01 | 999 | 0.5
TDS (calculado) | 0 | 2 | 0.1
TDS (calculado) | 2.01 | 4 | 0.2
TDS (calculado) | 4.01 | 6 | 0.3
TDS (calculado) | 6.01 | 8 | 0.4
TDS (calculado) | 8.01 | 999 | 0.5
Alcalinidad total (CaCO3) | 0 | 2 | 0.1
Alcalinidad total (CaCO3) | 2.01 | 4 | 0.2
Alcalinidad total (CaCO3) | 4.01 | 6 | 0.3
Alcalinidad total (CaCO3) | 6.01 | 8 | 0.4
Alcalinidad total (CaCO3) | 8.01 | 999 | 0.5
Dureza total (THCaCO3) | 0 | 2 | 0.1
Dureza total (THCaCO3) | 2.01 | 4 | 0.2
Dureza total (THCaCO3) | 4.01 | 6 | 0.3
Dureza total (THCaCO3) | 6.01 | 8 | 0.4
Dureza total (THCaCO3) | 8.01 | 999 | 0.5
Urea | 0 | 2 | 0.1
Urea | 2.01 | 4 | 0.2
Urea | 4.01 | 6 | 0.3
Urea | 6.01 | 8 | 0.4
Urea | 8.01 | 999 | 0.5
Zinc | 0 | 2 | 0.1
Zinc | 2.01 | 4 | 0.2
Zinc | 4.01 | 6 | 0.3
Zinc | 6.01 | 8 | 0.4
Zinc | 8.01 | 999 | 0.5
Materia seca | 0 | 2 | 0.1
Materia seca | 2.01 | 4 | 0.2
Materia seca | 4.01 | 6 | 0.3
Materia seca | 6.01 | 8 | 0.4
Materia seca | 8.01 | 999 | 0.5
DE – Energía Digerible | 0 | 2 | 0.1
DE – Energía Digerible | 2.01 | 4 | 0.2
DE – Energía Digerible | 4.01 | 6 | 0.3
DE – Energía Digerible | 6.01 | 8 | 0.4
DE – Energía Digerible | 8.01 | 999 | 0.5
Ecoli (recuento) | 0 | 2 | 0.1
Ecoli (recuento) | 2.01 | 4 | 0.2
Ecoli (recuento) | 4.01 | 6 | 0.3
Ecoli (recuento) | 6.01 | 8 | 0.4
Ecoli (recuento) | 8.01 | 999 | 0.5
Enterococcus (recuento) | 0 | 2 | 0.1
Enterococcus (recuento) | 2.01 | 4 | 0.2
Enterococcus (recuento) | 4.01 | 6 | 0.3
Enterococcus (recuento) | 6.01 | 8 | 0.4
Enterococcus (recuento) | 8.01 | 999 | 0.5
Recuento total de bacterias viables | 0 | 2 | 0.1
Recuento total de bacterias viables | 2.01 | 4 | 0.2
Recuento total de bacterias viables | 4.01 | 6 | 0.3
Recuento total de bacterias viables | 6.01 | 8 | 0.4
Recuento total de bacterias viables | 8.01 | 999 | 0.5
FS02 | 0 | 2 | 0.1
FS02 | 2.01 | 4 | 0.2
FS02 | 4.01 | 6 | 0.3
FS02 | 6.01 | 8 | 0.4
FS02 | 8.01 | 999 | 0.5

## Calculations
title | description | Formula
Results Calculations
Title | Description | Formula
Valoración | Standard titration | [TV] * [TF]
Pérdida de peso | Weight loss as % moisture | ( [GM] - [NM] ) / ( [GM] - [VM] ) * 100
Pérdida de peso (tara) | Weight loss (tare) as % moisture | (( [VM] + [SM] - [NM] ) / [SM] ) * 100
Peso residual | Residual Weight as % ash | (( [NM] - [VM] ) / ( [GM] - [VM] )) * 100
Peso residual (tara) | Residual Weight (tare) as % ash | (( [NM] - [VM] ) / [SM] ) * 100
Materia seca | Percentage dry matter. Dependent on Moisture Analysis | 100 - [Moist]
Energía digerible | Very simple DE calculation | 17.38 + [CP] + [EE] - [CF] - [Ash]
TSO2 | TSO2 | [concentration]
FSO2 | FSO2 | [concentration]

## Calculation Interim Fields
Calculation_title | keyword | title | hidden | value | unit
Interim fields used in calculations
Calculation title | Keyword | Field Title | Hidden | Default value | Unit
Valoración | TV | Titr Vol | 0 | ml
Valoración | TF | Titr Fact | 0
Pérdida de peso | GM | Gross Mass | 0 | g
Pérdida de peso | NM | Nett Mass | 0 | g
Pérdida de peso | VM | Vessel Mass | 0 | g
Pérdida de peso (tara) | SM | Sample Mass | 0 | g
Pérdida de peso (tara) | NM | Nett Mass | 0 | g
Pérdida de peso (tara) | VM | Vessel Mass | 0 | g
Peso residual | GM | Gross Mass | 0 | g
Peso residual | NM | Nett Mass | 0 | g
Peso residual | VM | Vessel Mass | 0 | g
Peso residual (tara) | SM | Sample Mass | 0 | g
Peso residual (tara) | NM | Nett Mass | 0 | g
Peso residual (tara) | VM | Vessel Mass | 0 | g
FSO2 | concentration | Concentration | 0
TSO2 | concentration | Concentration | 0

## Analysis Profiles
Client_title | title | description | ProfileKey | CostCode | Remarks
Analysis Profiles
Client | Title | Description | Profile key | Cost code | Remarks
| Trazas de metales | Trazas de metales en alimentos y agua | PTM
| Energía digerible | Dependencias de Energía Digerible | PDE
| Test microbiológico | Solo detección de presencia de microorganismos | Mbcheck
| Recuento microbiológico | Número de microorganismos por muestra | Mbcount

## Analysis Profile Services
Profile | Service
Analysis Profile Services
Profile | Analyses
Trazas de metales | Calcio
Trazas de metales | Cobre
Trazas de metales | Hierro
Trazas de metales | Magnesio
Trazas de metales | Manganeso
Trazas de metales | Sodio
Trazas de metales | Zinc
Energía digerible | DE – Energía Digerible
Energía digerible | Extracto de éter
Energía digerible | Ceniza
Energía digerible | Fibra – Cruda
Energía digerible | Proteína en crudo
Test microbiológico | Clostridia
Test microbiológico | Ecoli
Test microbiológico | Salmonella
Test microbiológico | Enterococcus
Recuento microbiológico | Ecoli (recuento)
Recuento microbiológico | Enterococcus (recuento)
Recuento microbiológico | Recuento total de bacterias viables

## Analysis Specifications
Client_title | SampleType_title | service | min | max | error
Analysis Specifications
Client | Sample type | Analysis service | Minimum | Maximum | Tolerance %

## AR Templates
title | Client_title | description | SampleType_title | SamplePoint_title | AnalysisProfile_title | Remarks | ReportDryMatter
Analysis Request Templates
Template title | Client title | Description | Sample type | Sample point | Analysis profile | Remarks | Report as dry matter?
Energía digerible |  |  | Pienso a base de carne | Matadero | Energía digerible

## AR Template Analyses
ARTemplate | service_uid | partition
AR Template Analyses
AR Template title | Analysis Service | Partition
Energía digerible | DE – Energía Digerible | part-1
Energía digerible | Extracto de éter | part-1
Energía digerible | Ceniza | part-1
Energía digerible | Fibra – Cruda | part-1
Energía digerible | Proteína en crudo | part-1

## AR Template Partitions
ARTemplate | part_id | container | preservation
AR Template Partitions
AR Template title | Partition | Container | Preservation

## Reference Definitions
title | description | Hazardous | Blank | DateCreated | ExpiryDate
Reference Definitions
Reference Definition title | Description | Hazardous? | Blank? | Date created | Expiry date
Vino blanco | Vino blanco cosecha del 1999 | 0 | 0 | 1999-10-31 | 2013-10-31
4g/l azúcar | Agua azucarada con 4g/l de azúcar | 0 | 0 | 2012-10-02 | 2013-10-02
8g/l azúcar | Agua azucarada con 8g/l de azúcar | 0 | 0 | 2012-10-02 | 2013-10-02
Agua destilada | Agua destilada | 0 | 1 | 2012-10-02 | 2013-10-02

## Reference Definition Results
ReferenceDefinition_title | service | result | min | max
Reference Definition Expected Values
Reference Definition title | Analysis service | Result | Minimum | Maximum
Agua destilada | Calcio | 12 | 5 | 20
Agua destilada | Cobre | 13 | 5 | 21
Agua destilada | Fluoride | 14 | 5 | 22
Agua destilada | Hierro | 15 | 5 | 23
Agua destilada | Manganeso | 16 | 5 | 24
Agua destilada | Magnesio | 17 | 5 | 25
Agua destilada | Sodio | 18 | 5 | 26
Agua destilada | FS02 | 10 | 5 | 25
Agua destilada | TSO2 | 10 | 5 | 25
Vino blanco | FS02 | 12 | 5 | 25
Vino blanco | TSO2 | 12 | 5 | 25
Vino blanco | pH (campo) | 5 | 4.5 | 5.5
4g/l azúcar | Azúcares | 4 | 3.8 | 4.2
8g/l azúcar | Azúcares | 8 | 7.8 | 8.2

## Sampling Deviations
title | description
Sampling Deviations
Title | Description
Muestreada por el cliente | Muestreada y entregada por el cliente

## Worksheet Templates
title | description | Instrument_title
Worksheet Templates
Title | Description | Instrument
FIAStar FSO2 & TSO2 | Includes all unassigned FS02 and TS02 services | Fiastar

## Worksheet Template Services
WorksheetTemplate_title | service
Worksheet Template Services
Worksheet Template title | Analysis Service
FIAStar FSO2 & TSO2 | TSO2
FIAStar FSO2 & TSO2 | FS02

## Worksheet Template Layouts
WorksheetTemplate_title | pos | type | blank_ref | control_ref | dup
Worksheet Template Layouts
Worksheet Template Title | Position on worksheet | Type | Blank Reference | Control Reference | Duplicate position
FIAStar FSO2 & TSO2 | 1 | Blank | Agua destilada
FIAStar FSO2 & TSO3 | 2 | Control |  | Vino blanco
FIAStar FSO2 & TSO4 | 3 | Analysis
FIAStar FSO2 & TSO5 | 4 | Analysis
FIAStar FSO2 & TSO6 | 5 | Analysis
FIAStar FSO2 & TSO7 | 6 | Analysis
FIAStar FSO2 & TSO8 | 7 | Analysis
FIAStar FSO2 & TSO9 | 8 | Analysis
FIAStar FSO2 & TSO10 | 9 | Analysis
FIAStar FSO2 & TSO11 | 10 | Analysis
FIAStar FSO2 & TSO12 | 11 | Analysis
FIAStar FSO2 & TSO13 | 12 | Analysis
FIAStar FSO2 & TSO14 | 13 | Analysis
FIAStar FSO2 & TSO15 | 14 | Analysis
FIAStar FSO2 & TSO16 | 15 | Analysis
FIAStar FSO2 & TSO17 | 16 | Analysis
FIAStar FSO2 & TSO18 | 17 | Analysis
FIAStar FSO2 & TSO19 | 18 | Analysis
FIAStar FSO2 & TSO20 | 19 | Duplicate |  |  | 3
FIAStar FSO2 & TSO21 | 20 | Blank | Agua destilada

## Constants
Roles | Groups | AR Import options | Results Attachment option | Auto label print size | Auto Label Printing | Boolean | Publication Preferences | North South | East West | Point of capture
Analyst | Analysts | Classic | Not Permitted | normal | receive | 0 | email | N | E | field
LabClerk | LabClerks | Profiles | Permitted | small | register | 1 | fax | S | W | lab
LabManager | LabManagers | Special | Required |  | none |  | file
Preserver | Preservers | [5 empty] | print
Publisher | Publishers | [5 empty] | pdf
Sampler | Samplers | [5 empty] | sms
Verifier | Verifiers
ClientType | Currency | Partitions | Worksheet template analysis types | Client types | Gender | Instrument Maintenance task types | Instrument Scheduled tasks types | Instrument Scheduled Repeat unit
noncorporate | AED | part-1 | Blank | Corporate | Male | Preventive | Preventive | Days
| AFN | part-2 | Control | Non-corporate | Female | Repair | Repair | Weeks
| ALL | part-3 | Analysis |  | Don't Know | Enhancement | Enhancement | Months
| AMD | part-4 | Duplicate |  |  |  | Calibration | Years
| ANG | part-5 |  |  |  |  | Validation
| AOA | part-6
| ARS | part-7
| AUD | part-8
| AWG | part-9
| AZN | part-10
| BAM | part-11
| BBD | part-12
BDT
BGN
BHD
BIF
BMD
BND
BOB
BOV
BRL
BSD
BTN
BWP
BYR
BZD
CAD
CDF
CHE
CHF
CHW
CLF
CLP
CNY
COP
COU
CRC
CUC
CUP
CVE
CZK
DJF
DKK
DOP
DZD
EGP
ERN
ETB
EUR
FJD
FKP
GBP
GEL
GHS
GIP
GMD
GNF
GTQ
GYD
HKD
HNL
HRK
HTG
HUF
IDR
ILS
INR
IQD
IRR
ISK
JMD
JOD
JPY
KES
KGS
KHR
KMF
KPW
KRW
KWD
KYD
KZT
LAK
LBP
LKR
LRD
LSL
LTL
LVL
LYD
MAD
MDL
MGA
MKD
MMK
MNT
MOP
MRO
MUR
MVR
MWK
MXN
MXV
MYR
MZN
NAD
NGN
NIO
NOK
NPR
NZD
OMR
PAB
PEN
PGK
PHP
PKR
PLN
PYG
QAR
RON
RSD
RUB
RWF
SAR
SBD
SCR
SDG
SEK
SGD
SHP
SLL
SOS
SRD
SSP
STD
SYP
SZL
THB
TJS
TMT
TND
TOP
TRY
TTD
TWD
TZS
UAH
UGX
USD
USN
USS
UYI
UYU
UZS
VEF
VND
VUV
WST
XAF
XAG
XAU
XBA
XBB
XBC
XBD
XCD
XDR
XFU
XOF
XPD
XPF
XPT
XTS
XXX
YER
ZAR
ZMK
ZWL